## Slide 1
Hitachi SU-8230 FESEM Magnification Calibration Results, June 2020
Voltage/ Direction | Magnification 1000X | Magnification 10Kx | Magnification 50 Kx | Magnification 100Kx
@ 5 kV Horizontal Vertical | -0% 0.13% | -0.2% 0.25% | 0.5% 0.5% | 0.5% 1.2%
@15 kV Horizontal Vertical | 0% 0.63% | -0.4% 0% | -0.2% -0.5% | 0.5% 0.4%